## Slide 1: Polarimetry by single water droplet
Very complex structure at near-backscatter angles
Strong depol. component with high sensitivity to particle size and scattering angles
incident wavelength = 473 nm
Zoom-in at near-backscatter angles
Scattering by spheric particle (Mie Scattering)

## Slide 2: Polarimetry by single water droplet
FOV
telescope
droplet
Lidar receiving geometry with height
D=200 mm
r=250 um
assume rain droplet with the same size
δv
depolarization ratio
@ 355 nm
δv enhancement at lower height
peak value of δv fluctuates with particle size
peak value height not sensitive to particle size
Mind the constrain of field of view of the telescope

## Slide 3
r=125 um
r=250 um
r=500 um
r=1000 um
r=2000 um

## Slide 4
r=125 um
r=250 um
r=500 um
r=1000 um
r=2000 um

## Slide 5: Polarimetry by single water droplet
FOV
telescope
Lidar receiving geometry with height
D=200 mm
droplet
δv
depolarization ratio
@ 355 nm
δv enhancement at lower height
peak value of δv fluctuates with particle size
peak value height not sensitive to particle size
Assume distance = 200 mm
r=250 um
axial
biaxial
biaxial
Mind the constrain of field of view of the telescope

## Slide 6
r=125 um
r=250 um
r=500 um
r=1000 um
r=2000 um

## Slide 7
r=125 um
r=250 um
r=500 um
r=1000 um
r=2000 um

## Slide 8: Polarimetry by water droplets with similar size distribution
999.5-1000.5 um
998.5-1001.5 um
997.5-1002.5 um
995.5-1004.5 um

## Slide 9: Polarimetry by water droplets with similar size distribution
999.5:0.2:1000.5 um
999.5:0.1:1000.5 um
999.5:0.05:1000.5 um
999.5:0.02:1000.5 um

## Slide 10: Polarimetry by water droplets with similar size distribution
250:0.1:251 um
500:0.1:501 um
1000:0.1:1001 um
2000:0.1:2001 um
355 um

## Slide 11: Polarimetry by water droplets with similar size distribution
250:0.1:251 um
500:0.1:501 um
1000:0.1:1001 um
2000:0.1:2001 um
532 um

## Slide 12: Wavelength Dependent Polarimetry
Height
Height
532 nm
355 nm
300 mm telescope
250 mm distance
200 mm telescope
200 mm distance

## Slide 13: Scattering by water droplets at VIS band
Lolli, S.; Welton, E.J.; Campbell, J.R. Evaluating Light Rain Drop Size Estimates from Multiwavelength Micropulse Lidar Network Profiling. Journal of Atmospheric and Oceanic Technology 2013, 30, 2798-2807, doi:https://doi.org/10.1175/JTECH-D-13-00062.1.
Backscatter Efficiency
Extinction Efficiency

## Slide 14: Polarimetry by polydisperse water droplets
biaxial
axial
simulation
observation at Wuhan 2020-06-02
二阶和三阶矩

## Slide 15: Polarimetry by polydisperse water droplets
observation at Wuhan 2020-06-02
17:00-17:05

## Slide 16: Polarimetry by polydisperse water droplets
observation at Wuhan 2020-06-02
scattering by drizzles along height
depolarization along height

## Slide 17
Backup
整体MRR反演结果跟Disdrometer一致
MRR小粒径雨滴偏多
MRR大粒径偏少

## Slide 18: Mie Scattering Code Validation

## Slide 19: Mie Scattering Code Validation

## Slide 20: Validation of Mie Scattering Code
(O’Connor. et al, 2005)

## Slide 21: Impacts of small droplets
With more small droplets
With measured small droplets
小雨滴影响较小，小雨滴在低空的退偏信号峰值主要在300米以下，对500-700退偏峰值贡献小